## Cross-Cutting Strategies
CROSS-CUTTING ADAPTATION STRATEGIES |  |  | EVALUATION CRITERIA |  |  | CO-BENEFITS
Strategy Number | Strategy | Potential Actions | Conceptual Cost | Jurisdictional Control | Implementation Timeframe | Environmental | Equity | Public Health | Quality of Life | Engagement
CC-1 | Bolster emergency preparedness and response to protect VTA's assets, minimize disruptions to operations, and foster a sense of community and safety. | Engage with Cal OES and the Santa Clara County Office of Emergency Management and participate in planning and response coordination sessions related to climate hazards for the transportation sector. | Low | Medium | Variable | No | No | No | No | Yes
|  | Develop, update, share, and coordinate emergency management plans with VTA member agencies. Conduct outreach to clarify response elements of plans and to highlight VTA's capabilities to support emergency response efforts within its service area. | Low | Medium | Near-Term | No | Yes | No | Yes | Yes
|  | Review after-action reports from past evacuation efforts to identify targeted resiliency opportunities for communities in VTA's service areas and improve future evacuation efforts. | Low | High | Near-Term | No | Yes | No | Yes | Yes
|  | Establish and maintain contingency contracts with relevant suppliers who provide prioritized access to resources to enable more reliable and rapid access to services and supplies needed during an emergency response effort. | Low | High | Variable | No | No | No | No | Yes
|  | Maintain the organization, including staff roles and responsibilities, and procedures of the VTA Emergency Operations Center (EOC) to respond to emergency situations which may require deploying maintenance and repair teams to locations prior, during, or following a climate hazard event or as indicated in Incident Action Plans. Ensure the EOC is staffed and operated at a level proportionate to the emergency. | Low | High | Variable | No | Yes | No | No | No
|  | Develop climate hazard scenario-specific response plans with consideration of the unique set of circumstances related to each scenario and how they may affect VTA operations, power supply, and other considerations. | Medium | High | Mid-Term | No | Yes | No | Yes | Yes
|  | Conduct emergency response exercises with both internal and external partners by inviting member agencies and other partners to join emergency management table-tops and full-scale exercises conducted by VTA and have VTA staff participate in drills and exercises being hosted by member agencies and other partners. | Low | Medium | Variable | No | No | No | No | Yes
|  | Develop training for VTA staff and customer service representatives to better manage concerns of riders and the broader community during climate hazard events. | Low | High | Mid-Term | No | Yes | No | No | Yes
|  | Improve digital infrastructure to better communicate emergency and service disruption information to riders, which may include a suite of actions, including the installation of electronic signage in trains, buses, and at VTA facilities that displays real-time information, enhancing SMS-based alerting capabilities, further leveraging mobile applications (such as the "VTAlerts" app), and including audible indicators, where feasible. | Medium | High | Mid-Term | No | Yes | No | Yes | Yes
CC-2 | Develop a multi-pronged, community-focused climate resilience communications and informational campaign. | Develop content for and install multilingual signage at stations to inform riders about VTA climate resilience initiatives and personal climate hazard preparedness. | Medium | High | Mid-Term | No | Yes | Yes | No | Yes
|  | In collaboration with member agencies, educate community neighbors on how to prepare for and respond to climate hazards. For example, underscoring the importance of shade and hydration during extreme heat events, or the need for vegetation control to reduce risk of wildfire ignition and spread. | Low | Medium | Mid-Term | No | Yes | Yes | Yes | Yes
|  | Create a web-based dashboard that underscores vulnerability assessment findings and actions that can be taken to improve resilience to better inform riders and the broader community about adaptation-related needs that would be mutually beneficial for all parties that use or otherwise rely on VTA's transportation network. | Medium | High | Mid-Term | No | Yes | No | No | Yes
|  | Leverage and potentially modify existing mobile applications (e.g., the "VTAlerts" app), along with social media accounts, to inform the public on climate hazards (e.g., extreme heat, flooding), alternative routes, and climate resilience initatives, and to provide real-time reports from the public to help VTA respond to a hazard event. | Low | High | Mid-Term | No | Yes | No | Yes | Yes
CC-3 | Ensure redundancy of VTA's transportation network. | Identify alternative transit routes and modes of transportation and develop protocols for service disruptions or temporary closures during climate hazard events (e.g., wildfire, flooding), ensuring effective communication with riders and VTA staff. | Low | High | Mid-Term | No | Yes | No | Yes | Yes
|  | Consider and fully understand all aspects of VTA’s transportation network and how they will perform under evacuation scenarios (e.g., locations of chokepoints, expected roadway volumes and timing, potential evacuee characteristics, typical origin-destination numbers and patterns of travelers, capacity of roadways). | Low | High | Variable | No | No | No | No | Yes
|  | Enhance intermodal connectivity between different forms of transportation to provide multiple options for riders and VTA staff, which can include improving transfer facilities, developing multimodal hubs, and optimizing transit schedules to facilitate seamless transfers. | Medium | High | Long-Term | No | Yes | No | Yes | Yes
|  | For any scheduled maintenance or repairs to improve safety and reliability within VTA's transportation network, continue to implement and expand efforts to ensure that riders can still efficiently get around. For example, VTA's Rail Rehabilitation and Replacement Program, which includes rehabilitation and replacement projects for overhead power wires, concrete panels, switches, rail, and special track work, also ensures that riders can still get around during these scheduled closures via bus bridges. | Medium | High | Near-Term | No | Yes | No | No | No
|  | Bolster the capacity of VTA ACCESS Paratransit services to be prepared for potentially more frequent requests during future climate hazard events. | Medium | High | Mid-Term | No | Yes | No | Yes | No
|  | Coordinate with member agencies to help identify roadways, bridges, and electrical signal equipment that may be damaged or deteriorating to help expedite repairs and ensure continued sustenance and minimal disruptions of VTA's bus and paratransit operations. | Low | Medium | Variable | No | Yes | No | Yes | Yes
|  | Expand bus, paratransit, and light rail staff and fleets to account for enhanced intermodal connectivity and projected future ridership, and to minimize disruptions to VTA's transportation network. Consider resiliency in decisions related to future fleet planning and facility master plans. | High | High | Mid-Term | No | Yes | No | Yes | No
|  | Collaborate with member agencies and other regional transportation partners to establish, update, and maintain cooperative agreements and mutual aid protocols, which can facilitate resource sharing, alternative routing, and coordinated response efforts during emergencies. | Low | Medium | Near-Term | No | Yes | No | No | Yes
CC-4 | Establish internal and external collaboratives to support climate resilience. | Create an internal technical advisory group or task force to oversee all climate resilience efforts and support internal and external collaboration, outreach, and implementation of strategies. The group should include a representative from relevant VTA departments and will be responsible for leading implementation of adaptation projects through dedicated budget allocation and applications for grants and other external funding (e.g., FEMA BRIC grants). Additionally, the group will be responsible for data sharing throughout VTA and beyond. | Low | High | Near-Term | No | No | No | No | Yes
|  | Coordinate with VTA member agencies to explore the establishment of a countywide Climate Resilience District to fund or finance climate adaptation projects and programs, in line with SB 852. | Low | Medium | Near-Term | No | Yes | No | No | Yes
CC-5 | Take measures to reduce reliance on external power and ensure a redundant and more reliable power supply. | Conduct a feasibility study to determine where and how on-site renewable energy generation, battery storage, and/or microgrids could be implemented at VTA facilities and stations to provide more reliable, decentralized, grid-independent energy (Note: this adaptation action is very similar to and should be closely aligned with GHG Reduction Measures BF-1.2 and BF-1.3) | High | High | Mid-Term | Yes | Yes | No | No | No
|  | Develop and implement load management strategies to optimize energy usage during peak periods or emergencies and to reduce the risk of power outages, such as rescheduling non-urgent maintenance activities, identifying non-essential loads that can be temporarily reduced (e.g., lighting levels, HVAC systems, other equipment not directly related to critical operations or safety), and analyzing historical energy data to identify trends and make informed load management decisions. | Low | High | Near-Term | Yes | No | No | No | No
|  | Identify and seek funding to install backup power at VTA facilities and cabinets housing critical communication infrastructure. Ensure that all new and existing backup power sources are hardened and protected from potential hazard events, which may include wall structures to protect from wildfires and high winds or elevating systems out of flood-prone areas. Install redundant or failsafe air conditioning units in buildings and cabinets containing critical equipment and communication infrastructure where it does not already exist. | High | High | Mid-Term | No | Yes | No | Yes | No
CC-6 | Integrate climate adaptation and resilience considerations into design standards, criteria, and guidelines. | Update policies (e.g., Green Building Policy) and design manuals, such as VTA's Community Design and Transportation (CDT) Manual and the Design Criteria Manual for Stormwater and Landscaping, to further include climate change considerations based on vulnerability assessment findings and other known risks, to ensure that investments made now increase system resilience and sustainability. Consider including climate-resilient design features such as special sealants and other materials on roadways to help prevent roadways from softening during extreme heat and specific pavement options to reduce the heat island effect of parking lots, where applicable and in coordination with Caltrans and others. Improve the building envelope performance by increasing insulation value, glazing performance, window shading, thermal breaks, cool color technology on exterior building finishes, and other voluntary reach codes identified for non-residential projects in the California Green Building Standards Code (CALGreen). Stakeholders should provide feedback so that updated policies and design standards are feasible, have buy-in, and will be implemented by staff and member agencies. | Low | High | Variable | Yes | No | No | Yes | Yes
CC-7 | Track climate impacts on assets and operations. | Monitor climate impacts on assets and operations, as well as resulting costs and economic impacts, to justify the need for climate adaptation strategy implementation. Determine data sources and streamlined tracking methods, as appropriate, for different assets, operations, and related departments (e.g., data collection tools, work orders, labor tracking systems, inspection routines) to contribute to regular reporting by monitoring items including, but not limited to: 1) rail temperatures and track alignment to identify patterns related to extreme heat; 2) storm events and related power shutdowns to understand service impacts; 3) ridership complaints related to hazard events and associated costs; 4) impacts of hazardous conditions (e.g., poor air quality from wildfire smoke) on VTA workers through missed work days, compensation claims, etc. | Low | High | Variable | No | No | No | Yes | Yes
CC-8 | Develop adaptation pathways for individual assets and operations. | Conduct detailed, tailored vulnerability assessments specific to key individual assets and operations and develop a series of adaptation actions that can be taken over time based on changing conditions. This series of actions, also known as "adaptation pathways," establish specific triggers and evaluation metrics that lead into the next appropriate action that should be taken. This approach is intended to be flexible and easily modified as conditions change, climatic or otherwise. | Medium | High | Variable | No | No | No | No | Yes

## Focused Strategies
FOCUSED ADAPTATION STRATEGIES |  |  | APPLIES TO… |  |  |  | HAZARDS ADDRESSED |  |  |  |  | EVALUATION CRITERIA |  |  | CO-BENEFITS
Strategy Number | Strategy | Potential Actions | Facilities | Light Rail | Bus & Paratransit | Operations | Wildfire | Extreme Heat | Drought | Permanent Flooding | Temporary Flooding | Conceptual Cost | Jurisdictional Control | Implementation Timeframe | Environmental | Equity | Public Health | Quality of Life | Engagement
F-1 | Implement cooling features to build resilience and ensure adequate access to amenities that help VTA staff and riders cope with extreme heat. | Install cooling amenities in areas where they do not yet exist and where feasible, such as: hydration stations on station platforms and in maintenance areas to ensure riders and VTA staff have access to drinking water; additional seating under pre-existing shade platforms; additional shaded areas at park-and-ride lots, bike racks, and platforms; air conditioning in indoor waiting areas; and misters in outdoor waiting areas. | Yes | No | Yes | Yes | No | Yes | No | No | No | High | High | Mid-Term | No | Yes | Yes | Yes | No
|  | Where feasible, increase shading and use heat-mitigating materials around VTA facilities, such as in park-and-ride lots, bus and paratransit stops, stations, transit centers, facility entry areas, pedestrian walkways, and bicycle facilities. For example, build bus shelters or plant trees to provide shaded areas where transit users can wait for transit in more comfortable conditions. Prioritize plantings in high-traffic areas and/or areas identified as lacking canopy tree cover according to local surveys. | Yes | No | Yes | Yes | No | Yes | No | No | No | Medium | High | Near-Term | Yes | Yes | Yes | Yes | No
|  | Reduce wait times for transit service to reduce exposure to passengers during extreme heat events and poor air quality conditions during wildfires. This can be done by providing faster and more frequent service. | No | No | No | Yes | No | Yes | No | No | No | Medium | High | Mid-Term | No | Yes | Yes | Yes | Yes
|  | Consider installing heat-reducing roofs or roof treatments such as green roofs, cool roofs, or using other high-albedo materials for VTA facilities, along with installing awnings on buildings and operator break rooms and ensuring buildings are well insulated, to help reduce cooling needs and costs and the urban heat island effect. | Yes | No | No | Yes | No | Yes | No | No | No | Medium | High | Long-Term | Yes | Yes | Yes | No | No
|  | Pilot "cool pavement" projects that use lighter materials or lighter colored aggregate in asphalt paving mixes. Monitor progress of achieving potential benefits like reduced ambient air temperatures, reduced maintenance, and increased longevity. Pilot success should help determine the feasibility of this as a solution that could be brought to scale across park-and-ride lots that are not exposed to temporary flooding where permeable pavement should be installed instead. | Yes | No | No | Yes | No | Yes | No | No | No | Medium | High | Variable | No | Yes | Yes | No | No
|  | Ensure light rail, bus, and paratransit fleets are equipped with thermal insulation coatings and tinted windows. | No | Yes | Yes | Yes | No | Yes | No | No | No | Medium | High | Mid-Term | No | Yes | No | No | No
|  | Increase natural ventilation and passive cooling of facilities through changes in operation and positioning of doors and windows and installing additional vents or louvers. | Yes | No | No | Yes | No | Yes | No | No | No | Low | High | Near-Term | No | Yes | No | No | No
F-2 | Protect and minimize disruptions to the light rail system from the effects of extreme heat. | Establish policies for when to perform zero-stress temperature adjustments based on temperature fluctuations, and stress newly installed and existing rail with a rail zero-stress temperature that is calculated based on projected temperatures for the lifetime of the rail, rather than on current or historic conditions. | No | Yes | No | Yes | No | Yes | No | No | No | Low | High | Near-Term | No | No | No | No | No
|  | Develop official protocols for managing and protecting light rail operations during extreme heat events, such as frequent track walking inspections and adopting specific criteria for when to issue rail slow/stop orders to prevent or reduce overheating. | No | Yes | No | Yes | No | Yes | No | No | No | Low | High | Near-Term | No | No | No | No | No
|  | Install sensors to indicate potential kinking and rail defects, which may include thermometers that can be remotely monitored (which can reduce operational rail costs associated with rail inspection requirements during hot weather), or motion sensors that can identify a thermal misalignment when it occurs and automatically halt trains. | No | Yes | No | Yes | No | Yes | No | No | No | Medium | High | Mid-Term | No | No | No | No | No
|  | Reduce risk of thermal misalignment through a suite of actions, which may include: replacing wood ties with concrete ties, which are heavier and more resistant to movement; reducing tie spacing, which provides additional weight to the track structure and increased lateral resistance because of increased exposure to shoulder ballast; re-tamping ballast to increase ballast density, which increases lateral resistance; and/or increasing the width of the ballast shoulder, which will increase lateral resistance. | No | Yes | No | Yes | No | Yes | No | No | No | High | High | Long-Term | No | No | No | No | No
F-3 | Reduce the risk of adverse temporary and permanent flooding-related impacts to VTA's assets and operations. | Prioritize nature-based solutions to address flooding. This may include coordination with other agencies to restore wetland and riparian habitats on floodplains to further slowdown the flow of floodwaters and hold soil in place. Additionally, this may also include drainage improvements, such as bioswales, bioretention basins, retention/detention ponds, incorporation of permeable surfaces, and improvements to culverts, as strategies for reducing peak stormwater flooding in locations where geotechnical conditions are appropriate and/or with adequate foundation/substrate. Choose low maintenance, non-invasive plant species. Improvements to drainage and stormwater infrastructure should be considered at park-and-ride lots, landscaping around VTA facilities, and along track in VTA's right-of-way, and in partnership with the County of Santa Clara and other agencies. | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Medium | High | Mid-Term | Yes | No | Yes | No | No
|  | Armor subgrade and sub-ballast with riprap or other materials to prevent light rail track structure from weakening because of saturation or washout. This can be done as new substructure is being placed and/or when older ballast is replaced. | No | Yes | No | Yes | No | No | No | No | Yes | Medium | High | Mid-Term | No | No | No | No | No
|  | Where exposure to temporary flooding is prevalent, research and treat light rail system and track components, along with bus/paratransit stops and infrastructure components, with protective coatings or sealants to minimize the risk of potential rusting and promote stronger performance and longevity, where appropriate. | No | Yes | No | Yes | No | No | No | No | Yes | Medium | High | Mid-Term | No | No | No | No | No
|  | Where feasible, explore elevating electrical (e.g., substations), mechanical, and information technology (IT) equipment (including Data Centers, Backup Data Centers, SCADA rooms, and IDF and MDF networking closets) that are vulnerable to current and future flood elevations, such as those at Cerone Bus Division and River Oaks. Some considerations should include accessibility and safety (e.g., ensuring maintenance personnel can access equipment), importance to VTA's operations, elevation techniques and engineering design, and compliance with building codes and regulations. | Yes | Yes | Yes | Yes | No | No | No | Yes | Yes | Medium | High | Long-Term | No | Yes | No | No | No
|  | Install permeable pavement to minimize flood risk in park-and-ride lots that are exposed to temporary flooding, but also to reduce peak flows, lessen the strain on drainage systems, and recharge groundwater where it can be filtered naturally by the soil. | Yes | No | No | Yes | No | No | No | No | Yes | Medium | High | Mid-Term | Yes | No | No | No | No
|  | Develop and practice a suite of post-wildfire debris removal strategies, in collaboration with others, to reduce the severity of flood-after-fire and other debris flow events, including replanting lost vegetation immediately after a wildfire event, establishing and continuing to maintain barriers in areas determined to be susceptible to future debris flows, and employing best-available data to predict future debris flows. | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Medium | High | Near-Term | Yes | No | No | No | No
|  | Procure additional and appropriate temporary flood protection barriers for different types of assets (e.g., sandbags, Tiger Dam™, AquaFence®) to be better prepared during a temporary flood event. Where feasible and appropriate, explore more permanent forms of wet or dry floodproofing for facilities. | Yes | Yes | Yes | Yes | No | No | No | No | Yes | High | High | Mid-Term | No | Yes | No | No | No
|  | Collaborate with member agencies and other partnering organizations to encourage and expedite shoreline protection and restoration projects (e.g., South San Francisco Bay Shoreline Project, led by the Santa Clara Valley Water Agency) to reduce the overall vulnerability of VTA's transportation system to the effects of permanent inundation and coastal flooding. Support community participation in these efforts. | Yes | Yes | Yes | Yes | No | No | No | Yes | Yes | Low | Low | Variable | Yes | Yes | Yes | Yes | Yes
|  | Incorporate future sea-level rise, permanent inundation, and precipitation projections into long-term infrastructure planning processes, influencing decisions on expansion, relocation, or retrofitting of assets. For example, many of VTA's facilities and other assets are highly vulnerable to future permanent inundation and coastal flooding, such as Lockheed Martin Transit Center, light rail routes and supporting infrastructure (e.g., grade crossings, frogs, turnouts), and bus stops, among others. Potential relocation of these assets should be considered and planned for well in advance of implementation. | Yes | Yes | Yes | Yes | No | No | No | Yes | Yes | High | High | Long-Term | No | Yes | No | Yes | No
F-4 | Reduce water consumption at VTA facilities and across operations to address drought or other water supply availability issues. | Complete upgrades to vehicle washing facilities (e.g., replace original train wash facility at Guadalupe Yard), wastewater treatment systems, and irrigation equipment, targeting higher usage areas. This may include replacing traditional sprinkler systems with drip irrigation systems, retrofitting water fixtures in yards used for washing trains, buses, or other service/maintenace activities so that water sprays are at higher pressure but lower volume, and replacing water fixtures, toilets, and urinals in station and facility restrooms with low-flow options. | Yes | No | No | Yes | No | No | Yes | No | No | High | High | Long-Term | Yes | No | No | No | No
|  | Consider maintaining reduced vehicle washing and irrigation schedules imposed during drought emergencies as regular practice. | No | Yes | Yes | Yes | No | No | Yes | No | No | Low | High | Near-Term | Yes | No | No | No | No
|  | Explore the feasibility of automated data communications and leak detection systems to provide real-time water consumption information and leak alerts to facility managers. | Yes | No | No | Yes | No | No | Yes | No | No | Low | High | Mid-Term | No | No | No | No | Yes
|  | Educate and engage relevant staff on ideas for water conservation in the workplace, which may include improvements to cleaners, manual scrubbers, and power washing, and ensuring that leaky hydrants are turned off. | Yes | Yes | Yes | Yes | No | No | Yes | No | No | Low | High | Near-Term | Yes | No | No | No | Yes
|  | Explore opportunities for connecting station and facility irrigation systems to recycled water lines, collaborating with water agencies to determine feasible locations. | Yes | No | No | No | No | No | Yes | No | No | Medium | High | Long-Term | Yes | No | No | No | Yes
|  | Further integrate and regularly update water conservation approaches into contractor requirements to better mitigate water use impacts from construction through operations. | Yes | Yes | Yes | Yes | No | No | Yes | No | No | Low | High | Near-Term | No | No | No | No | No
F-5 | Strategically manage trees and vegetation to maximize site-specific aesthetics, promote resilience, and reduce the risk and potential impacts of climate hazards. | At VTA facilities that require significant irrigation for landscaping and aesthetics (e.g., park and ride lots, stations, and transit centers), identify and install non-invasive plant species that are native or climate appropriate and are more tolerant to climate hazards to reduce water use and improve resilience. | Yes | No | No | Yes | Yes | Yes | Yes | No | Yes | Medium | High | Mid-Term | Yes | No | No | No | No
|  | Support tree planting in lower wildfire risk, heat vulnerable areas where potential disturbances (e.g., fallen trees) would not greatly impact VTA assets and operations (e.g., not planting in locations directly adjacent to rail track). Ensure trees are properly maintained and watered to survive drought conditions. | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Low | High | Near-Term | Yes | No | No | No | No
|  | For VTA assets that are located in higher wildfire risk areas, manage adjacent trees and vegetation in a way that minimizes risk of wildfire ignition and spread. This may include removing and/or replacing trees with other forms of vegetation or hardening features (e.g., fire-resistant materials) that would reduce risk and ensuring adequate defensible space. Ensure this work aligns with the County's Community Wildfire Protection Plan, prepared by the Santa Clara Fire Safe Council. | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | Medium | High | Mid-Term | Yes | Yes | No | No | No
|  | Install tree wells, where feasible, to promote long-term tree health. | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Medium | High | Mid-Term | Yes | No | No | No | No
F-6 | Take measures to promote rider and workforce safety. | Shift outdoor physical labor hours to earlier in the morning during extreme heat events, and allow for flexible hours and remote work, in general (where possible), to ensure safety during other climate hazard events. | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Low | High | Near-Term | No | Yes | Yes | Yes | Yes
|  | Conduct safety audits and inspections across VTA's transportation system (e.g., facilities, buses) to identify and address potential safety risks to riders and VTA staff that would be caused or exacerbated by climate hazards. | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Medium | High | Variable | No | Yes | No | No | Yes
|  | Develop and update trainings for VTA staff that promote safety during hazard conditions, which may include how to safely operate vehicles and equipment during flood conditions and how to recognize and respond to heat-related illnesses, among others. Provide tips to riders on how to stay safe during floods, heat waves, and other hazard conditions. | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Low | High | Near-Term | No | Yes | Yes | No | Yes
|  | Ensure indoor facilities, buses, and trains are equipped with air filtration systems to protect public health from wildfire smoke and the harmful effects of particulate matter pollution. | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Medium | High | Mid-Term | No | Yes | Yes | No | No
|  | Develop and share emergency preparedness tips and safety communications with employees. | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Low | High | Variable | No | Yes | Yes | No | Yes

## Evaluation Criteria
EVALUATION CRITERIA & CO-BENEFITS
Criteria | Scoring
Conceptual Cost | This action would involve significant financial investments well beyond VTA's existing budget, as it would necessitate major capital expenditures or require long-term financial commitments or ongoing operational costs. May require substantial external funding. | This action would require a moderate level of funding beyond VTA's existing budget, but may be able to be accommodated with reallocation of resources or obtaining some external funding. | This action can be implemented within VTA's current budget or with minimal additional funding.
| High | Medium | Low
Jurisdictional Control | For this action, VTA would be the “influencer." VTA would not have any direct control over action implementation, but VTA still has the ability to partner, coordinate with, encourage, or influence the efforts of others. | For this action, VTA would be the “regulator” or “initiator." VTA would have some degree of jurisdictional control, either directly or indirectly, but is not solely responsible for enacting all efforts required to achieve the full potential of the action. For example, VTA may act as a regulator or initiator for some efforts, but the broader community or other agencies may also need to respond with some degree of action. | For this action, VTA would be the “actor." VTA would likely have sole authority and full jurisdictional control over action implementation.
| Low | Medium | High
Implementation Timeframe | This action should be considered and fully implemented or adequately operationalized 5+ years from now. | This action should be considered and fully implemented or adequately operationalized in the next 2-5 years. | This action should be considered and fully implemented or adequately operationalized in the next 1-2 years. | This action may be an intrinsically ongoing action, or may have multiple phases of implementation.
| Long-Term | Mid-Term | Near-Term | Variable
Co-Benefits | Scoring
Environmental |  | This action would not result in any environmental (e.g., air, water, habitat, GHG emissions reduction) benefits OR unclear what environmental impact this action may have. | This action would result in environmental (e.g., air, water, habitat, GHG emissions reduction) benefits.
|  | No | Yes
Equity |  | This action would not directly or indirectly enhance social equity OR unclear what impact this action may have on social equity. | This action would directly or indirectly enhance social equity by providing benefits to vulnerable or disadvantaged populations.
|  | No | Yes
Public Health |  | This action would not influence public health OR unclear what impact this action may have on public health. | This action would enhance public health.
|  | No | Yes
Quality of Life |  | This action would not influence the quality of life of VTA staff, riders, and/or the broader community OR unclear what impact this action may have on quality of life. | This action would improve the quality of life of VTA staff, riders, and/or the broader community.
|  | No | Yes
Engagement |  | This action would not require or facilitate engagement with internal staff, the general public, member agencies, and/or other stakeholders OR unclear what impact this action may have on engagement. | This action would require or likely facilitate engagement with internal staff, the general public, member agencies, and/or other stakeholders.
|  | No | Yes
Thresholds
Score 18-29 | Include in CAP | 20 actions
Score 15-18 | Medium priority | 49 actions
Score under 16 | Last priority | 68 actions
Criteria
#REF!
Conceptual Cost
#REF!
#REF!
#REF!
Jurisdictional Control
Implementation Timeframe
Co-Benefits
Benefits to Renters
Equity
Air Pollution Prevention
Health and Well-Being
Reliability
Resilience
Job Development
Resource Preservation